# comprehensive Data delivery README FILE

|  |  |
| --- | --- |
| **Study Section** | Study 5.6: Water Quality Modeling Study (WQ\_MOD) |
| **Study Component** | Focus Area Modeling (EFDC) |
| **Prepared By** | Tetra Tech, Inc. |
| **Data Collection and Processing By** | Tetra Tech, Inc. |
| **Field Date Range** | 2013–2017 |

**Introduction:** The overall goal of this effort was to model information on water quality (e.g., temperature, dissolved oxygen, sediment) in areas with the potential to be affected by construction and operation of the proposed Susitna-Watana Hydroelectric Project in Alaska.

This Water Quality Modeling Study (5.6) focuses on predicting the potential impacts of the dam and its proposed operations on water quality through the development of a water quality model. The goal of Study 5.6 is to utilize the extensive information collected from the Baseline Water Quality Study (Study 5.5) to develop a model to evaluate the potential impacts of the proposed Project and operations on various physical parameters within the Susitna River watershed.


The data contents of this folder, “FA-128 (Slough 8A)”, contains 2D modeling data specific to FA-128.

**Data Summary:** The FA-128 hydraulic model was run for two conditions, pre- and post-reservoir, and three periods: 1973–1976, 1978–1981, and 1984–1986. Each condition and period are noted in the *run name* of the input or output zip folder. *Run name*s are noted as “FA128\_*period*\_*condition*”. The *period* is represented by a 4-digit number, e.g. 7376 for 1973–1976, and the *condition* is either “pre” or “post” reservoir.

Model files fall under three different categories: Input files, output files, and model executables. Model output parameters at each monitor point or element center are: X Coordinate, Y Coordinate, Bed Elevation, Water Surface Elevation, Depth, Velocity in X Direction, Velocity in Y Direction, Total Velocity Magnitude, Froude Number, and Total Shear Stress. A table summarizing the types of data files in each subfolder is below.

| **Modeling Category** | **File Type** | **File Name** | **Comments** |
| --- | --- | --- | --- |
| Model Executable | Processor | focus\_efdc.exe |  |
| Model Executable | Driver | libiomp5md.dll |  |
| **5\_6\_WQ\_*RunName*Input.zip** | | | |
| Input | Time series forcing and boundary condition | aser.inp | Atmospheric forcing time series files, specifies atmospheric pressure, relative humidity, precipitation, evaporation, solar radiation and cloud cover |
| Input | Horizontal grid specification | cell.inp | Horizontal cell type identifier file |
| Input | Horizontal grid specification | dxdy.inp | File specifying horizontal grid spacing or metrics, depth, bottom elevation, bottom roughness and vegetation classes for either Cartesian or curvilinear-orthogonal horizontal grids |
| Input | General data and run control | efdc.inp | Master input file |
| Input | General data and run control | efdc\_original.inp | Master |
| Input |  | gridext.inp | File of water cell corner coordinates for used with NTYPE = 0 grid generation option |
| Input | Time series forcing and boundary condition | icecover.inp | Ice cover input time series |
| Input | Horizontal grid specification | lxly.inp | File specifying horizontal cell center coordinates and cell orientations for either Cartesian or curvilinear-orthogonal grids |
| Input | Horizontal grid specification | newdxdy.inp | File specifying horizontal grid spacing or metrics, depth, bottom elevation, bottom roughness and vegetation classes for either Cartesian or curvilinear-orthogonal horizontal grids |
| Input | Horizontal grid specification | newlxly.inp | File specifying horizontal cell center coordinates and cell orientations for either Cartesian or curvilinear-orthogonal grids |
| Input | Physical process specification | qctl.inp | Hydraulic control structure characterization file |
| Input | Control structure check | qctlck.inp | Model generated file to check the control structure table setup |
| Input | Time series forcing and boundary condition | qser.inp | Volumetric source-sink time series file |
| Input | Time series forcing and boundary condition | qser\_original.inp | Volumetric source-sink time series file |
| Input | General data and run control | show.inp | File controlling screen print of conditions in a specified cell during simulation runs |
| Input | Temperature boundary condition | temp.inp | Initial water temperature |
| Input | Time series forcing and boundary condition | tser.inp | Temperature time series file |
| Input | Time series forcing and boundary condition | tser\_original.inp | Temperature time series file |
| Input | Weather data | wser.inp | Meteorological data, used to specify wind speed and wind direction |
| **5\_6\_WQ\_RunN*ame*Output.zip** | | | |
| Output | Two-dimensional graphics output and visualization | belvcon.out | Two-Dimensional Horizontal Plane Scalar Format |
| Output | Diagnostic output | cflmax.out | Stability check file |
| Output | Misc. output | efdc.out | Efdc check file |
| Output | Misc. output | efdclog.out | Efdc log file |
| Output | Diagnostic output | lijmap.out | 2D cell to 1D order mapping results |
| Output | Misc. output | restart.out | Restart file |
| Output | Restart file | rstwd.out | Wetting and drying restart file |
| Output | Time series output | selts001.out | Water surface elevation time series output file |
| Output | Temperature boundary condition | tembinit.out | Temperature Initial condition output |
| Output | Two-dimensional graphics output and visualization | temconh.out | Two-Dimensional Horizontal Plane Scalar Format |
| Output | Restart file | temp\_rst.out | Water temperature restart file |
| Output | Restart file | Tempb\_rst.out | Bed layer temperature restart file |
| Output | Time series output | temts001.out | Temperature time series output |
| Output | Misc. output | uvets001.out | 2D velocity output |
| Output | Misc. output | uvtts001.out | 2D transport output |
| Output | Misc. output | wetdrychg.out | Wetting and drying log |
| Output | Misc. output | windshelt.out | Wind shield output |
| *05-WQ\5.06-WQ\_MOD\FA-128 (Slough 8A)\Post-reservoir\FA128\_7376\_Post* **Only** | | | |
| Results | Video file | 5\_6\_WQ\_FA128\_7376\_TemDemo\_20170630.avi | Visualization of post-reservoir temperature results for  1973–1976 model run. |

Instructions on how to read the TEMPCONH output file.

****

**Data Organization:** Model files are organized by pre- and post-reservoir scenarios and then by period (1973–1976, 1978–1981, 1984–1986). Each model period has its own subdirectory, which includes all input and output files (included as zip files), and model executables. FA-128 modeling files include the following subdirectories:

* Pre-reservoir
  + FA128\_7376\_Pre
  + FA128\_7881\_Pre
  + FA128\_8486\_Pre
* Post-reservoir
  + FA128\_7376\_Post
  + FA128\_7881\_Post
  + FA128\_8486\_Post

**Software or Hardware Considerations:** The provided model executables require 64-bit Windows. No software installation is necessary, EFDC is run directly by double-clicking the model executables. All the text input files (\*.inp files) are stored in the same folder with the EFDC executable file. Before running the model, delete the large output files including: SEDCONH.OUT, SNDCONH.OUT, CHLACONH.OUT, and DOCONH.OUT from the output folder. To run EFDC model, simply double-click EXE file to activate the model.

**Online Data Link:** http://gis.suhydro.org/suwareports/SuWa/05-WQ/5.06-WQ\_MOD/FA-128 (Slough 8A)

**Online Report Link:** http://www.susitna-watanahydro.org/type/documents/

| Title | Date | Description | Link |
| --- | --- | --- | --- |
| Revised Study Plan Section 5.6, Water Quality Modeling Study | 12/14/2012 | This document presents the plan for this study, including goals, objectives, the study area, and proposed study methods to construct reservoir and riverine models that predict potential changes to water quality in post-Project conditions. | [RSP for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2012/12/01-RSP-Dec2012_1of8-Sec-1-5-IntrothroughWaterQuality-v2.pdf) |
| FERC Study Plan Determination for Study 5.6 | 4/1/2013 | This document presents FERC approval of Study 5.6, which approved AEA’s Revised Study Plan with recommended adjustments. | [FERC SPD for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2015/11/20130401_FERC_SPD14remainingStudies.pdf) |
| Draft Initial Study Report for Study 5.6 | 2/3/2014 | This draft of the ISR summarized the study methods and variances during the 2013 study season, and presented preliminary data collected for Study 5.6. This draft ISR was later republished as Part A of the final ISR. | [Draft ISR for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2014/02/05.6_WQMOD_ISR_Draft.pdf) |
| Riverine Modeling Proof of Concept Meeting: Reservoir and Riverine Water Quality Modeling | 4/15/2014 -4/17/2015 | These presentations demonstrate preliminary parameterization and configuration of the reservoir and water quality models. Draft model output for temperature and dissolved oxygen are presented for from each of the models. Seasonal changes in these water quality parameters are demonstrated for the standard model calibration 50 year data set representing wet, dry, and average past climate periods. | [April 2014 Presentations for Study 05.06 (File 1)](http://www.susitna-watanahydro.org/wp-content/uploads/2014/04/2014_04_15-17TT_Riverine_ReservoirWQM.pdf)  [April 2014 Presentations for Study 05.06 (File 2)](http://www.susitna-watanahydro.org/wp-content/uploads/2014/04/2014_04_15-17TT_Riverine_RiverWQM.pdf) |
| Initial Study Report for Study 5.6 | 6/3/2014 | This document is the Initial Study Report (Parts A, B and C) for Study 5.6. Part A republishes the Draft ISR. Part B identifies supplemental information and errata in Part A. Part C presents study modifications and plans for completing the study. | [ISR Part A for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2014/05/05.6_WQMOD_ISR_PartA.pdf)  [ISR Part B for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2014/06/05.7_MERC_ISR_PartB.pdf)  [ISR Part C for Study 05.06](http://www.susitna-watanahydro.org/wp-content/uploads/2014/06/05.7_MERC_ISR_PartC.pdf) |
| Baseline Water Quality Study (Study 5.5) and Water Quality Modeling Study (Study 5.6) Water Quality and Lower River Modeling Technical Memorandum | 9/30/2014 | The riverine model currently extends from the dam site downstream to PRM 29.9. Study 5.6, Part C of the Initial Study Report (ISR) explained that AEA would assess in 2014 whether to extend the water quality modeling downstream of PRM 29.9 (AEA 2014). | [Sept. 2014 TM for Study 5.6](http://www.susitna-watanahydro.org/wp-content/uploads/2014/09/DRAFT-Tech-Memo_Baseline-Water-Quality-Decision-Points.pdf) |
| Initial Study Report Meetings, Water Quality Modeling Study (5.6) | 11/15/2014 | Transcripts and AEA’s agenda and PowerPoint presentations for the ISR meeting for the Water Quality Modeling Study | [Transcripts from ISR Meeting](http://www.susitna-watanahydro.org/wp-content/uploads/2014/11/Oct15_ISR_Meeting_PartA_Transcripts.pdf)  [Materials from ISR Meeting](http://www.susitna-watanahydro.org/wp-content/uploads/2014/11/Oct15_ISR_Meeting_PartB_Agenda_Presentations.pdf) |
| 2014 to 2015 Study Implementation Report, Study 5.6, Water Quality Modeling Study | 11/2015 | AEA’s Study Implementation Report describing current progress on construction and testing of the reservoir and riverine water quality models. | [2014-2015 SIR for Study 05.06 (File 1)](http://www.susitna-watanahydro.org/wp-content/uploads/2015/11/05.6_WQMOD_SIR.pdf)  [2014-2015 SIR for Study 05.06 (File 2)](http://www.susitna-watanahydro.org/wp-content/uploads/2015/11/05.6_WQMOD_SIR_AppA.pdf) |

**[[1]](#endnote-1)**

1. **Data Distributor Contact Information:**

   Alaska Energy Authority, 813 West Northern Lights Boulevard, Anchorage, AK 99503

   Voice: 907-771-3000, Email: [SUWAhelp@aidea.org](mailto:SUWAhelp@aidea.org)

   **Legal Constraints:** The electronic services or products are provided "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE Alaska Energy Authority, the State of Alaska, or their respective employees or agents, BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH use of the electronic services or products, any failure thereof or otherwise, and in no event will the State of Alaska's liability to the requestor or anyone else exceed the fee paid for the electronic service or product. [↑](#endnote-ref-1)