## F-004a
Susitna-Watana Hydroelectric Project
Form F-004a: Water Quality
Project ID: | GW Task 6 Aquatic | [7 empty] | Focus Area - Station ID Location: |  |  | FA 138 (Gold Creek)
Sample Purpose: | Water Quality | [9 empty] | Date: | 20131120
Location: | FA138 riparian transect on river right. | [7 empty] | Field Team Names: |  | Cari Ruffino, Mike Figley
Objective: | Water Quality, Water Temp. and LL Survey | [7 empty] | Weather Observations: |  | very cold, -20 C
WATER QUALITY INSTRUMENT
Calibration Information
Parameter (s) |  |  |  |  | Owner | Meter Make/Model |  |  | Serial No. |  | Pre-Sampling QAQC Check |  | Post-Sampling QAQC Check
Temperature |  |  |  |  | GWS | Oakton Therm / Temp 14 |  |  | 2028141 |  | PASS |  | PASS
Conductvity |  |  |  |  | GWS | YSI30 |  |  | 07L100864 |  | n/a |  | n/a
Dissolved Oxygen |  |  |  |  | GWS | HQ40D |  |  | 131000095844 |  | n/a |  | n/a
[5 empty] | Temperature | [5 empty] | Conductivity
Location |  |  | Time | Surface | Mid-Column |  | Interface |  | Below Surface |  | Inst. Depth (ft) | Temp (°C): | AC (µS/cm) | SC (µS/cm)
| Lat. | Long. |  | Temp (°C): | Inst. Depth (ft) | Temp (°C): | Inst. Depth (ft) | Temp (°C): | Inst. Depth (ft) | Temp (°C):
ESGFA138-6 | 62.7693 | -149.7098 | 9:53 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 0.2 | 136.1 | n/a
Additional Parameters (if applicable)
Location | Lat. | Long. | Time | Inst. Depth (ft) | Temp (°C): | pH | Pressure (mmHg): | Pressure (kPa): | Cond. (µS/cm) | RDO (ppm): (mg/L) | Turbidity (NTU): | ORP
ESGFA138-6 | 62.7693 | -149.7098 | 9:53 | n/a | n/a | n/a | n/a | n/a | n/a | 13.13 | n/a | n/a
|  |  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
|  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
|  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
|  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
|  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
|  |  | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Mid Channel= Depth from water surface to middle of water column,Interface= the depth from water surface to channel bottom, Below Surface= is depth from water surface to location of probe below channel substrate. Inst. Depth= depth of instrument below surface of water.
Notes: